Justification of the best choice alternative

Scientific literature shows a strong shift toward polymer-based pipeline materials due to their durability, cost-efficiency, and resistance to corrosion. Industry best practices demonstrate a transition from traditional metallic materials to composite and plastic solutions to improve safety and reduce maintenance. Competitors and infrastructure experts recommend replacing metallic components with non-metallic alternatives to reduce their resale value and discourage theft. Global trends indicate that infrastructure vandalism is largely driven by the resale value of materials, making material substitution a key preventive strategy.

Table 1. Failure Factors, Impacts, and Control Measures of the Current Materials

| Failure Factor | Mechanism | Impact | Control Measure |
| --- | --- | --- | --- |
| Mechanical load | Soil/traffic pressure | Deformation, cracks | Proper installation |
| Temperature/UV | Environmental degradation | Strength loss | Protective layers |
| Creep | Long-term stress | Gradual deformation | Correct design limits |
| Joint failure | Weak connections | Leakage | Quality installation |
| Chemical exposure | Material interaction | Aging, damage | Material selection |

More recent research also highlights that the choice of materials directly affects the durability and reliability of infrastructure. Modern practice shows that plastics and composites are replacing older materials (e.g. iron, unprotected steel) due to safety and durability. Old materials are considered "high risk" and are being replaced.

Table 2. Comparison of Metal and Plastic/Composite on different aspects

| Aspect | Old Materials (Metal) | Modern Materials (Plastic/Composite) |
| --- | --- | --- |
| Failure risk | High | Low |
| Corrosion | Severe issue | Resistant |
| Maintenance | Frequent | Reduced |
| System reliability | Lower | Higher |
| Infrastructure strategy | Reactive | Preventive |
| Safety | Lower | Higher* |

*Table why modern materials have higher safety below

Table 3. Criteria where Plastic/Composite material are safer

| Criterion | Composite Materials | Engineering Value |
| --- | --- | --- |
| Structural strength | High | Reinforces pipelines |
| Corrosion resistance | Excellent | Long lifespan |
| Lifespan extension | Yes | Cost-efficient |

In South Africa, the use of non-metallic materials is already being proposed as a solution to reduce vandalism. This is becoming a systemic problem in water infrastructure. This means that this solution is already recognized locally as a relevant one. Vandalism is often associated with metal theft and resale. So, if that material has no resale value, then vandalism percentage drops. In Africa, many incidents occur precisely due to intentional damage to pipelines (theft, vandalism).

Table 4. Infrastructure Theft Overview

| Aspect | Insight | Why it matters |
| --- | --- | --- |
| Type of damage | Intentional | Not random → must remove incentive |
| Motivation | Economic (theft) | Linked to material value |
| Consequences | Explosions, injuries | High safety risk |
| Pattern | Widespread in Africa | Systemic issue |
| Infrastructure weakness | Repeated incidents | Current solutions ineffective |

Sources:

- Gillespie, C. (2025, April 9). Vandalism: An Overlooked Factor in South Africa's Water Crisis | Infrastructure news. Infrastructure news. https://infrastructurenews.co.za/2025/04/09/vandalism-an-overlooked-factor-in-south-africas-water-crisis/

- Hocine, A., Achira, F. S. K., Habbar, G., Levent, A., Medjdoub, S. M., Maizia, A., Dhaou, M. H., & Bezazi, A. (2024). Structural integrity assessment of corroded pipelines repaired with composite materials – Literature review. International Journal of Pressure Vessels and Piping, 210, 105253. https://doi.org/10.1016/j.ijpvp.2024.105253

- Silva, A., Evangelista, L., Ferreira, C., Valença, J., & Mendes, M. P. (2024). Towards resilient pipeline infrastructure: lessons learned from failure analysis. Discover Applied Sciences, 6(11). https://doi.org/10.1007/s42452-024-06273-7

- South African Government. (2020, August 4). Water and Sanitation on destruction of water infrastructure. https://www.gov.za/news/media-statements/water-and-sanitation-destruction-water-infrastructure-04-aug-2020